## Slide 1: CSE 591: Energy-Efficient Computing Lecture 21 review
Anshul Gandhi
347, CS building
anshul@cs.stonybrook.edu

## Slide 2
Lenovo: Laptop-level PM

## Slide 3
VMware

## Slide 4: Host Power Management
C-states to lower idle power
P-states to lower active power (+TurboBoost)

## Slide 5: Host Power Management

## Slide 6: Distributed Resource Scheduler
Migrate VMs for priority and to maintain minimum resource requirements
Notes: Giving options vs default.

## Slide 7: Distributed Resource Scheduler
Notes: Make more room on congested server or move to less congested server – for priority VMs.

## Slide 8: Distributed Power Management
Migrate VMs for host power savings
Requires WOL !
Different from HPM (local vs. distributed)

## Slide 9: Distributed Power Management
Notes: Autoscaling.

## Slide 10: HPM vs. DPM
400VMs @ 8 hosts. 30min idle, 30min load, 30min idle

## Slide 11
AutoScaling

## Slide 12: AWS

## Slide 13: Google Cloud Platform
Notes: Maintain given utilization level by automatically determining how many VMs to add/remove.

## Slide 14
Google: Data center-level PM

## Slide 15: Best practices
Thermostat
Airflow
Outside air
Don’t turn off servers – use them somehow.

## Slide 16: Natural cooling
Location | Cooling | Companies
Hamina, Finland | Seawater | Google
Dublin, Ireland | Outside air | Amazon, MS, Google
Lulea, Sweden | Outside air + server exhaust + hydro-electricity | FB
Rjukan, Norway | Outside air +hydro-electricity | Telemark
Reykjavik, Iceland | Outside air | Verne Global

## Slide 17
power_provisioning paper
(Google)

## Slide 18: Power breakdown

## Slide 19: Average vs. Peak vs. Max

## Slide 20: Power capping – extra deployment

## Slide 21: DVFS
Simulation results
Latency?
Notes: Rarely fully idle, so can’t use sleep, etc. Have to reduce idle power.
DVFS not that useful for single machine, but useful to increase density if there are many variably loaded machines.